## BILL OF QUANTITY
RFQ FOR CIVIL & ELECTRICAL WORKS FOR ALLO TECHNOLOGY SDN. BHD. AT PMU 132/33kV SENDAYAN
Purpose: Supply, Installation, Testing & Commissioning of Power Cable from Allo Outdoor Cabinet (AODC) to TNB Feeder / Power Source inside PMU 132/33 KV Sendayan
Location: Pencawang Masuk Utama ( PMU ) 132/33kV Sendayan
No | Description | U.O.M | Quantity | Unit Price (RM) | Total Price (RM)
A | PRELIMINARIES & SITE MOBILIZATIONS
1 | Liason for Approvals of Local Authority - Permitting Fee for State/Local Council/Building Owner/JKR Federal Road/JKR State Road/TNB GRID Maintenance for UDM and Installation works. The rate is inclusive of site survey with relevant authority, method statement & drawings preparation, Professional Engineer (PE) endorsement, and way leave approval. Contractor should obtain prior approval before issuance of processing fee after which the payment receipt must be attached as proof for reimbursement. | EA | 1 |  | 0
2 | Mobilization Cost - South Includes mobilization of manpower with valid NTSP and CIDB, equipment and tools, administrative charges and all other overheads for a site in Johor | LOT | 1 |  | 0
3 | EC Competent Person 132kV Includes charges for an EC Competent Person or Grid Contractor Qualified Person ( GCQP ) per day for site works | DAY | 4 |  | 0
Remarks : 1 day for Utilities Detection & Mapping ( UDM ), 3 days for Cable Installation Works
B | UTILITIES DETECTION & MAPPING
1 | Utility Mapping Negeri Sembilan The rate is inclusive of site preparation, safety consideration, cost of usage of equipment, submission of drawings for endorsement from license surveyor or competent person and other items to complete the job according to TNB and/or local authority's requirement. The rate is inclusive of every related services for Utility Mapping until commissioning, with provided equipment calibration cert, manpower, transportation to site, different spray colour for different utilities, pegging marking with stick wood and spray to mark a proposed locationfilling and levelling with crusher run and sand for Cabin compound ( 8.4m x 6.6m x 0.1m ) | m2 | 280 |  | 0
C | INSTALLATION OF POWER CABLE FROM TNB METER PANEL TO TAPPING POINT INSIDE PMU
1 | Supply and Installation 10mm.sq. x 3Core Armoured Cable CU/PVC/SWA/PVC Power Cable from TNB Meter Panel to power source tapping point inside PMU Includes of 4 inch HDPE double wall corrugated pipe, LV Cable protection cover, cable connection accessories, soil digging and excavation | METER | 70 |  | 0
2 | Cut and Permanent Reinstatement ( Tarmac ) & Installation of 4 inch G.I Pipe The rate shall be inclusive of cutting machine, cut the tarmac surface and resurface with tarmac, road marking and making good of site according to ALLO and relevant authority requirement. | m2 | 10 |  | 0
3 | Supply and Installation of weatherproof TNB kwh metering panel ( floor mounted ) c/w sight glass for meter reading ( Approved type by TNB ) Includes of concrete plinth for meter panel & cable termination and commissioning by Wireman PW2 | EA | 1 |  | 0
4 | Submission and obtaining approval from TNB including power application ( Supply type : Single Phase, Underground, Voltage Level : 230VAC, Total Connected Load (TCL) : 5.7kW, Max. Demand (MD) : 3.5kW ) ( TNB CSP : Connection Charges, Stamp duty & Security Deposit to be paid by ALLO ) | EA | 1 |  | 0
D | INSURANCE
5 | INSURANCE (PRICE QUOTED SHALL INCLUSIVE ALL THE INSURANCE COVERAGE): A. Contractor All Risks Section I: Minimum limit of Indemnity: (i) Any one incident: As per agreed Contract Sum. (ii) Period: At any time during the Term including Defects Liability Period with Principal’s Existing Property extension to be included. Section II: Third Party Liability: (i) Any one incident: RM100,000.00 (ii) Period: At any time during the Term. B. Workmen's Compensation Maintain a Workmen Compensation Policy (WC) for workmen defined under Workmen Compensation Act 1952. (i) The sum insured shall be declared as 15% of the Contract Sum. (ii) Period: At any time during the Term including Defects Liability Period. Allo Technology Sdn Bhd to be named as joint-insured. | EA | 1 |  | 0
Grand Total Price Inclusive of All Applicable Taxes and Duties, Including Sales & Services Tax (RM) |  |  |  |  | 0
Compliance Term |  |  |  | (Yes/No)
Qualification: 1. Registered as a vendor with Tenaga Nasional Berhad (TNB) *Please submit Sijil TNB Kontraktor Kerja 2. Contractor must possessed NIOSH TNB Safety Passport (NTSP) and CIDB Green Card *Please submit relevant supporting document
Project Duration : 1 Month ( Subject to TNB Grid Maintenance Method Statement Approval and Permit to Works Issuance )
Invoicing Terms : 100% Payment upon work completion and acceptance by Allo Technology.
Payment Term : Within fourty five (45) days upon invoice submission, upon delivery, job completion and acceptance by Allo Technology.
Sign Off by Contractor
I acknowledge that I have read, understand and comply to the above job description in its entirety and capable of performing all of the stated requirements:
Signature:
Name :
Phone Number :
Company Name :
Company's Stamp :
Date :

## ATTACHMENT
RFQ FOR SUPPLY, INSTALLATION, TESTING & COMMISSIONING OF POWER CABLE FROM ALLO OUTDOOR CABINET ( AODC ) TO TNB FEEDER / POWER SOURCE INSIDE PMU 132/33 kV SENDAYAN
Page 1 of 2
RFQ FOR SUPPLY, INSTALLATION, TESTING & COMMISSIONING OF POWER CABLE FROM ALLO OUTDOOR CABINET ( AODC ) TO TNB FEEDER / POWER SOURCE INSIDE PMU 132/33 kV SENDAYAN
Page 2 of 2
Road cutting and Installation 4 Inch G.I Pipe
Manual Excavate and Installation of 4inch double wall corrugated pipe with LV cable protection cover
Manual Excavate and Installation of 4inch double wall corrugated pipe with LV cable protection cover
Manual Excavate and Installation of 4inch double wall corrugated pipe with LV cable protection cover
Manual Excavate and Installation of 4inch double wall corrugated pipe with LV cable protection cover
Propose TNB Meter location inside PMU
POWER CABLE ROUTE FROM TNB METER PANEL ( ODC ) TO TAPPING POINT INSIDE PMU